| Meeting Date | 10 July 2025 |  | Agenda Item |  | 4.1 |
| --- | --- | --- | --- | --- | --- |
| Report Title | Operational Performance and Health Board Solutions |  |  |  |  |
| Report Authors | Carl Mustad (Assistant Director of Digital Technology) Rachel Levi (Head of Digital Applications and Digital Operations Service Modernisation and Transformation) |  |  |  |  |
| Report Sponsor | Matthew John (Director of Digital) |  |  |  |  |
| Presented by | Carl Mustad (Assistant Director of Digital Technology) |  |  |  |  |
| Freedom of Information | Open |  |  |  |  |
| Purpose of the Report | This paper provides an update on the operational performance of local and national systems used in the Health Board. |  |  |  |  |
| Key Issues | - During the period 1st May – 30th June there were four clinical systems outages. - Two incidents occurred on services delivered within Swansea Bay University Health Board (SBUHB) data centres with the root causes identified and fully resolved with no impact on patient care. - A national system outage caused by a cooling fault in the Church Village Data Centre (CDC) affected some national services including integration services between key systems - The disaggregation of systems between SBUHB and Cwm Taf Morgannwg University Health Board (CTMUHB) went live on May 20th. |  |  |  |  |
| Specific Action Required (please choose one only) | Information | Discussion | Assurance | Approval |  |
|  | ☐ | ☒ | ☒ | ☐ |  |
| Recommendations | Members are asked to: - Receive assurance that the issues during the reporting period are resolved. - Receive assurance that business continuity and disaster recovery plans are in place and are effective in the event of outages to reduce any impact on patient care. - Receive assurance that the issue outages as a result of a cooling failure in the data centre were dealt with effectively and a Major Incident review will be undertaken by DHCW, and the findings will be shared with the committee when available. - Receive assurance that the systems disaggregation of patient data for Bridgend patients went ahead as planned on May 20th 2025. |  |  |  |  |

Operational Performance and Health Board Solutions

- INTRODUCTION

This paper provides an update on the operational performance of digital systems during the period 1st May – 30th June 2025.

One of the key factors influencing operational performance is system availability. This report aims to provide assurances that local and national systems are highly available and operating optimally.

- BACKGROUND

The Health Board consumes local clinical and administrative systems supported by Digital Services, national systems supported by Digital Health and Care Wales (DHCW) and commercial companies directly provided services such as Attend Anywhere and Swansea Bay Patient Portal.

DHCW services are managed under a Service Level Agreement (SLA). There are a number of services within the SLA including infrastructure systems and national clinical systems and associated integrations such as the Welsh Laboratory Information Management System (WLIMS), Welsh Clinical Portal (WCP) and Welsh Patient Administration System (WPAS). Separate contracts exist for services provided directly by commercial system providers.

Some systems are also provided by suppliers using public cloud services (e.g. Amazon Web Services, Microsoft Azure etc.) or hosting services with their own data centres (private cloud).

This report covers the performance and stability of the local, national and commercial digital solutions and changes in service provision.

  - Clinical Systems Availability

It is important to recognise that computer systems almost never achieve 100% availability due to factors such as hardware failures, bugs, and updates. As the organisation becomes increasingly reliant on digital systems, it is also increasingly important that departments have robust, tried and tested Business Continuity Plans (BCPs) to deliver effective patient care.

From the period 1st May 2025 – 30th June 2025 there were four issues that could have potentially impacted on clinical services within Swansea Bay University Health Board (SBUHB).

- The Radiology Information Management System (RADIS) was unavailable between 06:45 and 07:37 on May 14th. The root cause was identified as a security update which did not properly re-start a server upon completion. The impact was minimal due to the time of day and duration of the outage period.

- A performance issue with Welsh Patient Administration System (WPAS) on May 14th meant that the Emergency Department in Morriston had to revert to paper to book patients in. The issue was reported at 08:52 and resolved at 09:38 and there was minimal impact.

- It was not possible to view Radiology Picture Archiving and Communication System (PACS) within the Welsh Clinical Portal. The issue occurred at 08:30 on May 29th and was fully resolved at 13:33. The issue was caused by an incorrect network setting within Fuji PACS which became evident following a planned Health Board network change.

During this period, clinicians viewed diagnostic images directly within the PACS system and therefore patient care was not impacted.

- A number of national systems were either unavailable or integration services impacted due to a cooling fault in the national Church Village Data Centre. There are two national data centres and therefore not all national services were affected. The service failure was first reported at 19:51 on June 11th. In response to multiple systems affected by multiple organisations across NHS Wales, DHCW coordinated ‘All Wales’ meetings starting at 21:00 on June 11th and continuing throughout the incident.

For SBUHB, the affected services were:

- Initially from 20:23 on June 11th there were reports that Welsh Clinical Portal was unavailable. This was resolved at 22:07.

- On June 12th at 09:12 Morriston Emergency Department reported issues with the Welsh Patient Administration System Emergency Department module (WPAS ED) which were resolved at 12:38. Contingencies were quickly implemented to ensure patient care was not affected.

- On June 13th a similar issue with the WPAS ED module was reported at 08:39 but quickly resolved with a permanent fix at 09:03.

- There were no further issues reported until Monday 16th June when integration issues were reported for the SBUHB Document Management System (DMS), Electronic Pre-Operative Assessment (EPOA) and the Hospital E-Prescribing and Medication Administration (HEPMA) system. Those systems were fully available but where integration messages such as Admit, Discharge and Transfers were delayed, contingencies were put in place. The integration issues were fully resolved at 11:06.

Digital Services reported the outage which affected the Emergency Department on June 12th to the Welsh Government’s Cyber Resilience Unit in accordance with the Network and Information Systems (NIS) regulations.

The Cyber Resilience Unit have since confirmed that the incident was reportable. However, in light of the multiple incidents reported by multiple organisations across NHS Wales, a single report will be completed in this case with Digital Health and Care Wales (DHCW) identified as the Operator of Essential Services.

A Major Incident review is currently being undertaken by DHCW and will be provided to the committee in due course.

There are no indications that these outages impacted on patient care within SBUHB.

  - Bridgend boundary change - systems disaggregation

The go live for the work to migrate Bridgend patient data from Swansea Bay University Health Board’s systems to Cwm Taf Morgannwg University Health Board’s systems following the health board boundary change in April 2019 took place on the weekend of Friday 16th May to Monday 20th May with no system downtime or service impact for SBUHB.

As described in previous updates, the scheduled programme of work was significantly impacted by the availability of a robust sealed test environment, resulting in Digital Health and Care Wales (DHCW) and Cwm Taf Morgannwg University Health Board (CTMUHB) not being able to perform end to end testing of systems impacted by the data migration. There were also significant challenges with the Welsh Patient Administration System (WPAS) data migration itself resulting in repeated rounds of fixes and related testing.

Despite the risks, the go live proceeded on the planned date. This was due to the significant operational pressures in CTMUHB associated with the reduced bed capacity in Princess of Wales Hospital and the plans over the summer to re-introduce patients to the affected areas prior to the start of the winter period.

Although WPAS has been at the core of this work all local and national systems across SBUHB have been reviewed and the impact of the systems disaggregation assessed, for example, the Welsh Nursing Care Record was updated with new location codes on the go live weekend to reflect the migration of patients in Princess of Wales Hospital from SBUHB systems to CTMUHB systems.

Whilst the implementation went ahead as planned, there remains ongoing work for both health boards to manually check and rectify some data on a case by case basis, ensuring that the patient pathways and the associated data is managed and reported in the correct health board. The impact of this on other planned work within SBUHB will be closely monitored.

The final tasks for this extensive programme of work include a review of all local SBUHB systems where data is stored for Bridgend locality patients from April 1st 2019 and the development of a plan to manage that data from an Information Governance and/ or technical point of view. There are also a small number of residual infrastructure related tasks to complete.

A review of the current Service Level Agreement between SBUHB and CTMUHB is due to take place, and an update will be provided accordingly.

- GOVERNANCE AND RISK ISSUES

This report does not highlight any concerns that significantly increased level of risk for the Health Board.

Service availability, operational issues and service plans (Radiology, Pathology etc.) for national and local systems are reported to the Digital Service Management Group (DSMG). Associated reports are fed into the highlight report in the Digital Leadership Group (DLG) and appropriately to the Management Board, the Digital, Data, Research and Innovation Committee and associated risks with systems to the Digital Services Business meeting. The DSMG meets quarterly in line with the DLG. The Digital Services Business meeting meets bi-monthly.

Nationally, the service management boards including the Operational Security Service Management Board (OSSMB), Infrastructure Management Board (IMB), Microsoft 365 Service Management Board and clinical systems management boards (Radiology, Welsh Patient Administration System, Welsh National Care Records etc.) report to the National Service Management Board and the health board is represented by the Assistant Director of Digital Technology. This board has sight of DHCW performance reports, availability, major incidents and is an escalation point for the sub boards. The Health Boards and Trusts in NHS Wales also report local outages to this national board.

- FINANCIAL IMPLICATIONS

There are no known financial implications in this report. However, failure to protect the network and information systems, which could result in interruption in services and loss of data can result in fines of up to £17m under the Network and Information Systems Regulation.

RECOMMENDATION

Members are asked to:

- Receive assurance that the issues during the reporting period are resolved.

- Receive assurance that business continuity and disaster recovery plans are in place and are effective in the event of outages to reduce any impact on patient care.

- Receive assurance that the issue outages as a result of a cooling failure in the data centre were dealt with effectively and a Major Incident review will be undertaken by DHCW, and the findings will be shared with the committee when available.

- Receive assurance that the systems disaggregation of patient data for Bridgend patients went ahead on May 20th 2025.

| Governance and Assurance |  |  |  |
| --- | --- | --- | --- |
| Link to Enabling Objectives (please choose) | Supporting better health and wellbeing by actively promoting and empowering people to live well in resilient communities |  |  |
|  | Partnerships for Improving Health and Wellbeing |  | ☒ |
|  | Co-Production and Health Literacy |  | ☒ |
|  | Digitally Enabled Health and Wellbeing |  | ☒ |
|  | Deliver better care through excellent health and care services achieving the outcomes that matter most to people |  |  |
|  | Best Value Outcomes and High Quality Care |  | ☒ |
|  | Partnerships for Care |  | ☒ |
|  | Excellent Staff |  | ☒ |
|  | Digitally Enabled Care |  | ☒ |
|  | Outstanding Research, Innovation, Education and Learning |  | ☐ |
| Health and Care Standards |  |  |  |
| (please choose) | Staying Healthy |  | ☒ |
|  | Safe Care |  | ☒ |
|  | Effective Care |  | ☒ |
|  | Dignified Care |  | ☒ |
|  | Timely Care |  | ☒ |
|  | Individual Care |  | ☒ |
|  | Staff and Resources |  | ☒ |
| Quality, Safety and Patient Experience |  |  |  |
| Digital systems in healthcare can have a significant positive impact on quality, safety and patient experience. The increased adoption and reliance on digital systems requires robust and highly available systems. Technical issues preventing access to critical systems can impact on quality, safety and patient experience. |  |  |  |
| Financial Implications |  |  |  |
| N/A |  |  |  |
| Legal Implications (including equality and diversity assessment) |  |  |  |
| As an Operator of Essential Services, the health board has a legal duty to comply with NIS regulations by ensuring appropriate levels of availability, cyber security and resilience of key digital systems are in place. Service loss through inadequate systems including resilience and outages caused by poor cyber security defences could result fines of up to £17m through the Network and Information Systems (NIS) regulations. In addition, if there is data loss, there may be an additional fine (up to £17m) under GDPR. |  |  |  |
| Staffing Implications |  |  |  |
| The organisation must have tried and tested business continuity plans (BCP) in place and staff must be ready to implement these in the event of a computer system outage. |  |  |  |
| Long Term Implications (including the impact of the Well-being of Future Generations (Wales) Act 2015) |  |  |  |
| - Long Term – Health and Social Care “A Healthier Wales” (2018) sets out a long-term future vision of a ‘whole system approach to health and social care’, which is focussed on health and wellbeing, and on preventing illness. It acknowledges that technology is transforming the way we live, lifestyles and expectations have changed. The aspirations of the act critically rely on digital technology as an enabler and therefore reliable and highly available systems to deliver effective digital tools, systems and data is absolutely essential. - SBU HB’s Clinical Services Plan (2019-2024) - Adoption of digital solutions and technology. - Create a mobile workforce that is digitally connected to ensure staff work seamlessly to ‘Make Every Contact Count’. - Technology to support care closer to the patient’s home or in the community. |  |  |  |
| Report History |  |  |  |
| Appendices |  | None. |  |