APPENDIX 1


	Row Labels
	2022

	A - Building - Physical Structure
	 £                   15,000 

	06 - Conservatories
	 £                   15,000 

	B1 - Building - External Fabric
	 £                     6,250 

	01 - Masonry
	 £                     2,250 

	05 - Doors
	 £                     4,000 

	B2 - Building - External Fabric
	 £                     3,000 

	01 - Windows
	 £                     3,000 

	C - Building - Internal Fabric
	 £                   75,000 

	11 - Comments
	 £                   75,000 

	D - Building - Roof - Pitched
	 £                     4,700 

	01 - Covering
	 £                     2,500 

	04 - Fascia’s/ Soffits/Bargeboards
	 £                         300 

	08 - Guttering
	 £                         400 

	09 - Down Rainwater pipes
	 £                     1,500 

	F - Building - External Works
	 £                   56,000 

	01 - Fences/Gates
	 £                     4,000 

	02 - Walls
	 £                   10,000 

	09 - Drainage 
	 £                   42,000 

	I - Engineering - Heating Systems
	 £             1,520,000 

	02 - Heating Boilers
	 £             1,520,000 

	K - Engineering - Vent & Cooling
	 £             2,570,000 

	05 - AHUs
	 £             2,570,000 

	L - Engineering - Medical Gases
	 £             1,136,000 

	01 - Pipework
	 £             1,026,000 

	02 - Valves/Alarms
	 £                110,000 

	M - Engineering - Hot/Cold Water
	 £             1,700,000 

	15 - Comments
	 £             1,700,000 

	O - Engineering - Medical Systems
	 £                624,000 

	03 - Bedhead Services
	 £                624,000 

	R - Engineering - Electrical
	 £                860,000 

	12 - IPS/UPS
	 £                800,000 

	16 - Comments
	 £                   60,000 

	V - Engineering - Fire Systems
	 £                678,000 

	04 - Fire Main/Zone Panel
	 £                265,000 

	05 - Fire Dampers
	 £                280,000 

	10 - Comments
	 £                133,000 

	Grand Total
	 £             9,247,950 


High Risks by Category
