## Abbott Afinion
Hospital | Area | Device | Serial | Purchased / Received | Issued
Cimla ACT
|  | Afinion AS100 | AS0041675 | 2016-01-01
Bon-Y-Maen | ACT
|  | Afinion 2 | AF20019206 | 2020-02-01
Primary Care
Bridgend | North Cluster
| Woodlands Surgery | Afinion 2 | AF20009457
| Llynfi Surgery | Afinion 2 | AF20045210
| Ogmore Vale | Afinion 2 | AF20004045
| Bron Y Garn | Afinion 2 | AF20049335 | 2023-02-10 | 2023-02-16
| Cwm Garw Pontycymmer | Afinion 2 | AF20034707
| Cwm Garw Bettws | Afinion 2 | AF20028560 |  | 2021-05-05
| Tyn Y Coed | Afinion 2 | AF20040338 |  | 2022-12-20
| Nantymoel Surgery | Afinion 2 | AF20004516
Neath | Upper Neath Valley
Amman Tawe | Garnant | Afinion AS100 | AS0050730
| Ystalyfera | Afinion AS100 | AS0051501
| GCG | Afinion AS100 | AS0051454
| Brynamman | Afinion AS100 | AS0043591
| Pontardawe HC1 | Afinion AS100 | AS0051663
| Pontardawe HC2 | Afinion AS100 | AS0052384
| Dulais Valley | Afinion AS100 | AS0051890
| Vale of Neath Practice | Afinion 2 | AF20010812
Neath | Neath Cluster
| Alfred Street | Afinion 2 | AF20016063
| Briton Ferry HC | Afinion 2 | AF20006882
| Castle Surgery | Afinion 2 | AF20012561
| Castle Surgery | Afinion 2 | AF20007261
| Dyfed Road Surgery | Afinion 2 | AF2006751
| Skewen Medical Centre | Afinion 2 | AF20006804
| Tabernacle Surgery | Afinion 2 | AF20006802
| Victoria Gardens | Afinion 2 | AF200010812
| Waterside MP | Afinion 2 | AF20006806
Note on H65: Replacement device for AF20004163 currently in Morr POCT store room

## Abbott ID Now
Hospital | Area | Serial | Purchased or Received
Glanrhyd
| Caswell Clinic | 721BE81C | 2021-11-01
Cefn Coed
| Celyn | B5E7DC1C | 2021-04-01
Llwyneryr
| Dan Y Deri | 7909E81C | 2021-11-01
NPTH
| Ward F | 2157E81C | 2021-11-01
POWH
| Childrens Ward | 242ADD1C | 2021-10-01
| Childrens Ward | D832E61C | 2021-10-01

## Clinitek Status Plus
Hospital | Area | Serial | Purchased
POWH
| AMU | 260985 | 2015-09-01
|  | 241033 | 2014-01-01
| Bridgend Clinic | 241046 | 2013-12-01
| Derm | 344395 | 2022-08-01
| DSU | 253203 | 2015-01-01
| Diab Clinic | 32860 | 2009-04-01
| Emergency Dept | 268400 | 2016-04-01
|  | 332577 | 2021-08-01
| Ambulatory Unit | 332576 | 2021-08-01
| ED AESU | 311277 | 2019-10-22
| EPU | 344396 | 2022-08-01
| Eye Theatre | 258783 | 2015-07-01
| Paeds Ward | 269312 | 2016-05-01
| Paeds Clinic | 253205 | 2015-01-01
| OPD | 271463 | 2016-04-01
| Urology | 208933 | 2011-01-01
| W&CH (ANC) | 253206 | 2015-01-01
| Ward 4/CCU | 329769 | 2021-04-01
| Ward 5 | 253551 | 2015
| Ward 6 | 292061 | 2018-04-01
| Ward 7 | 339361 | 2022-01-01
| Ward 8 | 261005 | 2015-09-11
| Ward 9 | 318778 | 2020-05-01
| Ward 10 | 285027 | 2017-08-01
| Ward 11 | 200580 | 2010-03-01
| Ward 18 | 239628 | 2013-12-01
| Ward 19 | 258782 | 2015-07-01
| Ward 20 | 239633 | 2013-12-01
| Ward 21 | 253195 | 2015
NPTH
| ANC | 200582 | 2010-03-01
| PAU | 271462 | 2016-04-25
| Day Surgery | 302704 | 2019-03-01
| Derm OPD | 285026 | 2017-08-01
| Elderly Day | 253553 | 2015
| Endoscopy | 201381 | 2010-03-01
| MIU | 208960 | 2011
| OPD 2 | 264269 | 2016-01-13
| OPD Red Suite | 277346 | 2017-06-01
| OPD Green Suite | 223135
| OPD Blue Suite | 200592 | 2010-03-01
| OPD Blue Suite | 241445 | 2014
| OPD Yellow Suite | 241032 | 2014-01-01
| OPD (urology) | 267996 | 2017
| Rapid Diagnosis Centre | 311274 | 2019-10-01
| Urology (Ward A) | 302920 | 2019-05-01
| Urology 2 | 329768 | 2021-04-01
| Ward B1 | 208935 | 2011-01-01
| Ward B2 | 200585 | 2010-03-01
| Ward C | 268408 | 2016-04-01
| Ward D | 292062 | 2018-04-01
| Ward E | 344952 | 2022-10-01
Morriston
| A&E Paeds (CEU) | 263513 | 2015-11-01
| A&E React | 200579 | 2010-03-01
| A&E 2 | 208945 | 2011-01-01
| A&E 1 | 300675 | 2018-11-01
| ADT Pre Assesment Unit | 241047 | 2014
| AMU | 300676 | 2018-11-01
|  | 342267 | 2022-10-01
| Anglesey | 277088 | 2017
| Cardigan Ward | 300673 | 2018-11-01
| CCU | 268407 | 2016-04-25
| Clinical Research Unit | 224166
| CRU analyser in Theatre Rec store room | 302703 | 2019-03-01
| Cyril Evans | 302702 | 2019-03-12
| Dan Danino | 264268 | 2016-01-13
| Dyfed | 260984 | 2015-09-01
| Acute GP Unit | 319432 | 2020-06-23
| Neuro Ambulatory Unit | 263515 | 2015-11-01
| Oakwood | 200576 | 2010-03-01
| PAU | 339360 | 2022-01-01
| Ward M | 261225 | 2015-09-01
| Paeds OPD | 208937 | 2011-01-01
| OPD Level 2 | 253550 | 2015
| Urology Rm 22 | 253554 | 2015
| Pembroke | 339359 | 2022-01-01
| Powys | 267998 | 2016-03-01
| Renal Annexe | 266447 | 2016-03-04
| Renal OPD | 200578 | 2010-03-01
| Renal OPD | 208940 | 2011-01-01
| SDMU | 260983 | 2015-09-01
| Tempest | 208932 | 2011-01-01
| Theatre Assesment Unit | 277347 | 2017-06-01
| Ward B | 264270 | 2016-01-13
| Ward C | 255226
| Ward D | 268411 | 2016
| Ward F | 277348 | 2017-06-01
| Ward E | 307510 | 2019-06-01
| Ward H | 277367 | 2017
| Ward J | 266446 | 2016-03-01
| Ward R | 266445 | 2016-03-04
| Ward S | 264267 | 2016-01-13
| Ward T | 265461 | 2016
| Ward V | 348419 | 2022-12-01
| Ward W | 268399
Singleton
| GOPD/ANC | 250003 | 2015-03-18
| Cancer institute | 224165
| Dermatology | 261004 | 2015-09-01
| ILS2 | 224167
| OPD Corridor 4 | 269313 | 2016-05-01
| Paeds OPD | 266444
| Suite 17 | 269314 | 2016-05-01
| Ward 1 | 299839 | 2018-09-01
| Ward 2 | 292063 | 2018-04-01
| Ward 4 | 267997 | 2016-03-18
| Ward 6 | 267994 | 2016-03-18
| Haem Day Unit | 292064 | 2018-04-01
| Ward 16 Sexual Health Clinic | 258781 | 2015-07-01
| Ward 19 | 269307 | 2016-05-15
| EPU | 344668 | 2022-09-01
Cefn Coed | Celyn | 344667 | 2022-09-01
| Onnen (Ysbryd Y Coed) | 348420 | 2022-12-01
Maesteg | Llynfi OPD | 285029
Cimla ACT | ACT | 300672 | 2018-11-01
Glanrhyd | Angelton 1 | 277089 | 2015-09-01
Bridgend ACT | Trem Y Mor | 307512 | 2019-06-01
|  | 332575 | 2021-08-01
|  | 332576 | 2021-08-01
|  | 311291 | 2019-10-01
|  | 307509 | 2019-06-01
|  | 307513 | 2019-06-01
|  | 299836 | 2018-09-01
|  | 329770 | 2021-04-01
Note on B139: st181316: was CNS Room 38

## Coaguchek Pro 11
Hospital | Area | Device | Serial | Purchased or Received Date
Cimla | Clinical ResourceTeam (ACT) | Roche Coaguchek Pro 11 | TZ1141047
TZ1126247
| Medicines Management Team | Roche Coaguchek Pro 11 | TZ1126707 | 2021-01-18
|  |  | TZ1137367 | 2022-03-09
POWH
| Day Surgery Unit | Roche Coaguchek Pro II | TZ1105959
| Eye Theatre | Roche Coaguchek Pro II | TZ1105957
| AMU | Roche Coaguchek Pro II | TZ1107477 | 2018-05-01
| Emergency Dept | Roche Coaguchek Pro II | TZ1107297 | 2018-05-01
| Ambulatory care | Roche Coaguchek Pro II | TZ1124560 | 2020-05-14
| Maxillo Facial | Roche Coaguchek Pro II | TZ1119352
| Regional Cardiac Day Unit | Roche Coaguchek Pro II | TZ1141053 | 2022-09-17
| Ward 5 | Roche Coaguchek Pro II | TZ1105960
NPTH
| INR Clinic OPD | Roche Coaguchek ProII | TZ1116323
TZ1116084
|  |  | TZ1126550 | 2021-01-11
TZ1109765
| Endoscopy | Roche Coaguchek Pro II | TZ1107465 | 2015-11-12
| Nurse Pracs | Roche Coaguchek Pro II | TZ1141028 | 2022-08-11
| Pharmacy | Roche Coaguchek Pro II | TZ1014572
NPTH District Nurses
| Resource centre 1 | Roche Coaguchek Pro II | TZ1102676
| Resource Centre 2 | Roche Coaguchek Pro II | TZ1111100
| Pontardawe | Roche Coaguchek Pro II | TZ1107293
| Dullais Valley | Roche Coaguchek Pro II | TZ1101213
Cimla District Nurses | Cimla | Roche Coaguchek Pro II | TZ1107255
Morriston
| Endoscopy | Roche Coaguchek Pro II | TZ1140461 | 2022-08-06
| Cardiac Catherter Lab A | Roche Coaguchek Pro II | TZ1119346
| Cardiac Catheter Lab B | Roche Coaguchek Pro II | TZ1124729 | 2022-08-11
| Maxillofacial Dept | Roche Coaguchek Pro II | TZ1105962
| Dan Danino | Roche Coaguchek Pro II | TZ1128767
| Acute GP Unit | Roche Coaguchek Pro II | TZ1107522
Singleton
| Day Surgery Unit | Roche Coaguchek Pro II | TZ1107266
| Endoscopy | Roche Coaguchek Pro II | TZ1140037 | 2022-08-03
Community
Trem y Mor | Acute Clinical Team Bridgend | Roche Coaguchek Pro II | TZ1119842
TZ1116194
Bridgend East Network | East Network District Nurses | Roche Coaguchek Pro II | TZ1107276
District Nurses |  |  | TZ1107464
Glanrhyd |  |  | TZ1109750
TZ1107482
Bridgend North Network | North Network District Nurses | Roche Coaguchek Pro II | TZ1126673
District Nurses |  |  | TZ1129859
Glanrhyd |  |  | TZ1111246
Bridgend
Gp's
| Ashfield | Roche Coaguchek XS | UQ0043600
| Bron Y Garn | Roche Coaguchek XS | UQ0042519
| Llynfi | Roche Coaguchek XS | UQ0096676
UQ0112224
| Medical Centre Pencoed | Roche Coaguchek XS | UQ0085901
| Nantymoel Surgery | Roche Coaguchek XS | UQ0080818
| Newcastle Surgery | Roche Coaguchek XS | UQ0082749
| New Street Surgery | Roche Coaguchek XS | U20028130
| Oaktree Surgery | Roche Coaguchek XS | UQ0045328
UQ76001130
| Riversdale Surgery | Roche Coaguchek XS | UQ0096368
UQ0096346
UQ0096184
| South Road Surgey | Roche Coaguchek XS | UQ0105669
UQ0112157
UQ0076854
| Tyn Y Coed | Roche Coaguchek XS | UQ0043489
| Woodlands | Roche Coaguchek XS | UQ0052686
| Ogmore Vale Surgery | Roche Coaguchek XS | UQ0096550
| Pontycymer Surgery | Roche Coaguchek XS | UQ0095213
| Llangeinor Surgery | Roche Coaguchek XS | UQ0095221
| Bettws Surgery | Roche Coaguchek XS | UQ0095830
| Parc Prison | Roche Coaguchek XS | UQ0106349
| Clydach Health Centre | Roche Coaguchek XS Pro | U76009158
|  | Roche Coaguchek XS Pro | U76015541
`
NPTH GP's/
Clinic's
| Dyfed Road Health Centre | Roche Coaguchek XS | UQ0080554
| Gwynfi Health Centre | Roche Coaguchek XS | UQ0007995
| Glyncorrwg Health Centre | Roche Coaguchek XS | UQ0055746
| Kings Surgery | Roche Coaguchek XS | UQ0024034
| Mount Surgery | Roche Coaguchek XS | UQ0096576
| Tabernacle Surgery | Roche Coaguchek XS | UQ0069681
| Rosedale Medical Practise (Resource /centre) | Roche Coaguchek XS | UQ
Note on D170: ra019421: Previous meter SN UQ0027687 UQ0095221
Note on D171: ra019421: Previous meter SN UQ0027692 UQ0095213
Note on D172: Liz Thorne: UQ0043394
Note on D173: Liz Thorne: UQ0043413
Note on D176: Liz Thorne: UQ0045328
Note on D177: Liz Thorne: UQ76001130
Note on D178: Liz Thorne: UQ0019043
Note on D179: Liz Thorne: UQ0020708
Note on D180: Liz Thorne: UQ0044912
Note on D181: Previous serial number UQ0025998
Note on D183: Liz Thorne: UQ0043488
Note on D186: Liz Thorne: UQ0043407
Note on D187: ra019421: Previous meter SN UQ0042742
Note on D188: ra019421: UQ0042739
Note on D189: ra019421: Previous meter SN UQ0042752
Note on D190: Liz Thorne: UU0004645
Note on D192: ra019421: SN U76008192 returned to Roche error 8 ET U76008192
Note on D193: Liz Thorne: U7600119, Returned meter U7600112 with error 8 17/02/2014, U76009173
Note on D201: ch019409: old meter Error 8 UP0018983 replaced by Roche 05/08/213 Error 8

## DCA Vantage
Hospital | Area | Device | Serial | Purchased
POW | Paeds Clinic | DCA Vantage | S016249 | 2010-03-01
| Paeds Clinic | DCA Vantage | S016250 | 2010-03-01
| Diabetic Unit | DCA Vantage | S06595 | Loan Device from Siemens
Beacon Centre | Paeds Clinic | DCA Vantage | S016160 | 2010-03-01
| Paeds Clinic | DCA Vantage | S016248 | 2010-03-01
| Paeds Clinic | DCA Vantage | S056805 | 2017-01-01
Morriston | Diabetes Unit | DCA Vantage | S056990 | Loan Device from Siemens

## FPP
Hospital | Area | Supplier | Meter | Ketone Meter SN | Glucose Meters SN
Morriston
| ALAC | Abbott | FPP |  | KAAT282-D0169
| AMU | Abbott | FPP |  | KFAA025-A0495
KFAA040-A0748
KFAA025-A0583
KFAB078-A0395
KFAB038-A0010
KFAA026-A0195
| Anglesey | Abbott | FPP |  | KAAW340-A2562
| Burns OPD | Abbott | FPP |  | KDAZ146-A0056
| Burns Theatre | Abbott | FPP |  | KAAV002-A0484
KAAV002-A0373
| Card Cath Lab | Abbott | FPP |  | KAAW327-A1123
|  | Abbott | FPP |  | KAAT269-D0649
| Card HDU | Abbott | FPP |  | KDAZ140-A0424
| Cardiac ITU | Abbott | FPP |  | KAAT282-D0404
|  | Abbott | FPP |  | KDAZ140-A0694
|  | Abbott | FPP | KDAZ140-A0146
| Card OPD | Abbott | FPP |  | KAAT269-D0241
| Card Rehab | Abbott | FPP |  | KAAT269-D0136
| Card SSU | Abbott | FPP |  | KAAT282-D0197
KFAA192-A0117
| Cardigan |  |  |  | KFAB078-A0287
KAAT269-D0537
| CCU | Abbott | FPP |  | KDAZ140-A0676
KFAA025-A0080
KAAV316-A0210
| CEU | Abbott | FPP |  | KFAA026-A0506
|  | Abbott | FPP | KAAX083-A0375
| Clinical Research | Abbott | FPP |  | KAAT269-D0197
| Cyril Evans | Abbott | FPP |  | KDAA239-A0616
KAAX0893-A0291
| Dan Danino | Abbott | FPP
| Diabetic Centre | Abbott | FPP |  | KAAT282-D0669
| Discharge Lounge | Abbott | FPP |  | KAAT282-D0009
| Dyfed | Abbott | FPP |  | KAAT282-D0231
| Emergency | Abbott | FPP |  | KAAW340-A2645
KAAT269-D0557
KDAZ146-A0014
KAAV185-A0446
KAAT269-D0480
KFAA070-A0136
KFAA026-A0089
KAAW327-A1323
| Endoscopy | Abbott | FPP |  | KAAT284-D1769
KAAV312-A0098
| Fracture Clinic | Abbott | FPP |  | KAAV002-A0399
| Gower | Abbott | FPP |  | KDAZ324-A0023
KAAW338-A1963
KAAW037-A0189
| ITU | Abbott | FPP |  | KAAV002-A0210
KAAV138-A0745
KDAA162-A0338
KDAA204-A0117
KAAX110-A0840
KDAZ135-A0030
KAAV002-A0432
KAAV313-A0052
KDAZ145-A0412
KAAV002-A0176
KAAV002-A0643
KDAA162-A0068
KAAV289-A0265
KAAT269-D0978
KAAV283-A0239
KAAV313-A0449
KAAV313-A0354
KAAV313-A0007
KAAT234-D0253
KAAV002-A0007
KAAV002-A0069
KDAZ145-A0242
KAAW068-A0319
KAAV002-A0728
|  |  |  | KDAZ323-A1016 Enfys | KAAT269-D0362
|  |  |  | KDAZ145-A0516 | KAAV002-A0402
|  |  |  | KAAX030-A0041 | KAAT269-D0609
|  |  |  | KAAW036-A0340 | KDAA282-A0115
| Max Fax | Abbott | FPP |  | KAAT269-D0255
| Neuro Ambulatory | Abbott | FPP |  | KAAV081-A0358
| Oakwood | Abbott | FPP |  | KAAT269-D0268
| Paed OPD | Abbott | FPP
| PAU | Abbott | FPP |  | KAAT282-D0297
KAAT269-D0135
| Pembroke | Abbott | FPP | KDAZ324-A0165 | KFAA025-A0837
|  | Abbott | FPP |  | KAAW327-A0644
| Plastic Surgery OPD | Abbott | FPP |  | KAAT269-D0391
| Plastic Surgery Treatment Centre | Abbott | FPP |  | KAAT269-D0372
| Plastics Theatre | Abbott | FPP |  | KAAT282-D0159
| Powys | Abbott | FPP |  | KFAB124-A0046
|  | Abbott | FPP | KAAV329-A0213 | KDAZ139-A0072
| Radiology | Abbott | FPP |  | KAAT282-D0098
| Renal Day Unit | Abbott | FPP |  | KAAT269-D1077
| Renal Acute Liz Baker | Abbott | FPP |  | KAAT282-D0227
KFAA070-A0118
| Renal (Renal West) | Abbott | FPP |  | KAAT253-D0098
KAAU252-D3299
| Renal Home | Abbott | FPP |  | KAAU252-D3141
| Renal Self Care | Abbott | FPP |  | KAAT282-D0190
| SDMU | Abbott | FPP |  | KFAC126-A0189
|  |  |  | KDAZ324-A0857 | KFAA025-A0900
| Tawe | Abbott | FPP |  | KFAC083-A0046
| Tempest | Abbott | FPP |  | KAAT282-D0529
KAAT269-D0180
KAAT284-D1716
KAAT282-D0044
KAAT269-D0983
KAAT269-D0740
| Theatre | Abbott | FPP |  | KAAT282-D0580
KDAZ135-A0142
KAAX103-A0034
KAAW340-A2725
| TAU | Abbott | FPP |  | KFAA026-A0074
| Ty Olwen | Abbott | FPP |  | KFAB124-A0042
| Ward A | Abbott | FPP |  | KAAW328-A1655
KDAA239-A0289
| Ward B |  |  |  | KAAT269-D0355
KFAA026-A0048
| Ward C | Abbott | FPP | KAAV216-A0514 | KFAA070-A0170
KAAW338-A2161
| Ward D | Abbott | FPP |  | KAAW340-A2477
|  |  |  | KDAA239-A0545 | KAAX083-A0786
| Ward E | Abbott | FPP | KAAX110-A0926
KAAW338-A2199
KFAA040-A0906
| Ward F | Abbott | FPP |  | KAAT269-D0038
KFAA040-A0122
KDAA266-A0315
| Ward G | Abbott | FPP | KAAT269-D0210 | KDAZ140-A0274
KDAZ324-A0819
| Ward H | Abbott | FPP |  | KFAC297-A0296
KFAA026-A0509
KDAA239-A0593
| Ward J | Abbott | FPP |  | KAAW074-A0328
|  |  |  | KAAT282-D0014 | KAAT282-D0110
| Ward M | Abbott | FPP | KDAZ324-A0089 | KAAT282-D0011
| Ward R | Abbott | FPP
KAAT282-D0630
|  |  |  | KFAA025-A0717 | KFAA040-A1015
| Ward S | Abbott | FPP |  | KAAT282-D0114
KFAA025-A0281
| Ward T | Abbott | FPP |  | KDAA239-A0451
KFAA014-A0059
| Ward V | Abbott | FPP |  | KFAA190-A0642
|  |  |  | KFAB078-A0425 | KFAA040-A1025
| Ward W | Abbott | FPP |  | KFAA026-A0020
|  |  |  | KAAX028-A0346 | KFAA193-A0361
POWH
| Ambulatory Care | Abbott | FPP |  | KAAT282-D0060
| AMU | Abbott | FPP |  | KAAT137-D0389
KAAW036-A0241
|  |  |  | KFAA025-A0834 | KAAW340-A2487
|  |  |  | KAAX027-A0060 | KFAA070-A0012
| Bridgend Clinic | Abbott | FPP |  | KDAA239-A0613
| Card Investigation | Abbott | FPP |  | KAAT269-D0549
KAAT269-D0496
| CDS | Abbott | FPP |  | KAAT269-D0538
KAAV002-A0037
| Day Surgery | Abbott | FPP |  | KAAT282-D0285
| Dermatology | Abbott | FPP |  | KAAX030-A0071
| Diabetic OPD | Abbott | FPP | KAAV002-A0037
| Discharge Lounge | Abbott | FPP |  | KDAA239-A0496
| ED | Abbott | FPP |  | KAAT269-D0477
KFAA025-A0200
KDAZ140-A0365
KFAB078-A0102
KAAT269-D0396 ED Overflow
KAAV315-A0105
KFAC231-A0281
KDAZ324-A0494
| ED AESU | Abbott | FPP |  | KDAZ324-A0195
| Endoscopy | Abbott | FPP |  | KFAA026-A0137
| ENT Clinic | Abbott | FPP |  | KAAT282-D0031
| Eye Clinic | Abbott | FPP |  | KAAT269-D0216
| Eye Theatre | Abbott | FPP |  | KAAT282-D0062
| Fracture Clinic | Abbott | FPP |  | KAAW327-A0884
| ITU Outreach | Abbott | FPP | KAAV326-A0150
| Max Fax | Abbott | FPP |  | KAAT284-D1575
| OPD | Abbott | FPP |  | KAAT269-D0596
| PAU | Abbott | FPP |  | KAAT269-D0005
KAAT282-D0183
| Paeds Clinic | Abbott | FPP |  | KAAT269-D0791
| Paeds Ward | Abbott | FPP |  | KAAT269-D0889
| Pendre | Abbott | FPP |  | KFAA070-A0160
| PICU | Abbott | FPP |  | KAAT282-D0236
| Theatre Recovery | Abbott | FPP |  | KAAT282-D0553
| Ty Lidiard | Abbott | FPP |  | KAAV201-A0354
| Urology | Abbott | FPP |  | KAAV337-A0389
| Ward 4 | Abbott | FPP |  | KFAA041-A0021
KAAW327-A1395
KAAX083-A0676
| Ward 5 | Abbott | FPP
KDAZ243-A0328
KDAZ140-A0076
| Ward 6 | Abbott | FPP |  | KFAB124-A0175
KDAA204-A0051
KAAT282-D0202
| Ward 7 | Abbott | FPP |  | KDAZ176-A0085
KAAX110-A0559
| Ward 8 | Abbott | FPP
| Ward 9 | Abbott | FPP |  | KDAZ140-A0669
|  |  |  | KDAZ140-A0401 | KFAB124-A0114
| Ward 9 | Abbott | FPP |  | KAAT253-D0099
|  |  |  | KAAX029-A0582 | KAAX110-A0402
| Ward 10 | Abbott | FPP |  | KDAA239-A0464
KAAW036-A0376
| Ward 11 | Abbott | FPP |  | KAAV185A0632
KAAT282-D0052
| Ward 12 | Abbott | FPP |  | KAAV337-A0346
| Ward 14 | Abbott | FPP |  | KAAT269-D0423
| Ward 15 | Abbott | FPP |  | KAAT269-D0737
| Ward 16 | Abbott | FPP |  | KFAA025-A0484
| Orthopaedic Pre Assessment | Abbott | FPP |  | KAAT269-D0060
| Ward 18 | Abbott | FPP |  | KAAT269-D0256
KDAA266-A0088
| Ward 19 | Abbott | FPP |  | KFAA025-A0518
KFAA025-A0538
| Ward 20 | Abbott | FPP |  | KAAV185-A0032
KFAB038-A0007
| Ward 21 | Abbott | FPP |  | KFAA014-A0042
KFAA025-A0712
| Women's Health Unit | Abbott | FPP |  | KAAT269-D0816
| X Ray | Abbott | FPP |  | KAAT269-D0387
| Y Bwythyn Newydd | Abbott | FPP |  | KAAT269-D1022
Cefn Yr Afon | Cefn Yr Afon | Abbott | FPP |  | KAAT284-D1858
NPTH
| Day Surgery | Abbott | FPP |  | KAAT282-D0302
| Dermatology OPD | Abbott | FPP |  | KDAZ139-A0073
| Detox | Abbott | FPP |  | KAAT269-D0968
| Afan Nedd | Abbott | FPP |  | KAAX083-A0439
| Endoscopy | Abbott | FPP |  | KAAT282-D0491
KDAZ140-A0264
| MIU | Abbott | FPP |  | KAAT269-D0472
KAAT269-D0455
| Neuro Rehab unit | Abbott | FPP |  | KAAT269-D0348
| Nurse Prac | Abbott | FPP | KAAT282-D0697
KFAA192-A0392
| OPD | Abbott | FPP |  | KAAT253-D0393
KAAT269-D0466
| OPD 2 | Abbott | FPP |  | KAAT282-D0151
| Rhematology Day Unit | Abbott | FPP |  | KAAX103-A0133
| Theatre | Abbott | FPP |  | KAAT269-D0590
| Urology | Abbott | FPP |  | KAAT282-D0152
| Ward B | Abbott | FPP |  | KAAT269-D0443
KAAT269-D0248
| Ward B1 | Abbott | FPP |  | KAAT282-D0246
| Ward C | Abbott | FPP |  | KAAT269-D0211
KDAZ176-A0182
| Ward D | Abbott | FPP |  | KDAZ140-A0353
KFAB078-A0109
| Ward E | Abbott | FPP |  | KFAA026-A0068
KAAT269-D0962
| Ward F | Abbott | FPP |  | KAAX027-A0169
Singleton
| ADAU | Abbott | FPP |  | KAAT282-D0210
| CDS | Abbott | FPP |  | KAAT269-D0565
| Chemo Day Unit | Abbott | FPP | KDAA204-A0020 | KAAT282-D0271
| Clinical Research | Abbott | FPP |  | KAAT282-D0138
| Day Surgery Pre-Assesment | Abbott | FPP |  | KAAT282-D0501
| Day Surgery Unit | Abbott | FPP |  | KFAA070-A0528
| DRTS | Abbott | FPP |  | KAAT284-D1807
| Early Pregnacy Unit | Abbott | FPP |  | KAAT282-D0602
| Endoscopy | Abbott | FPP |  | KAAT269-D0454
| Haem Day Unit | Abbott | FPP |  | KAAT234-D0249
| HDU | Abbott | FPP |  | KDAZ140-A0104
KAAT284-D1770
| Leg Ulcer Clinic | Abbott | FPP |  | KAAT282-D0121
| OPD Corridor 4 | Abbott | FPP |  | KAAT269-D0249
KAAT284-D1558
| OPD Corridor 7 | Abbott | FPP |  | KAAT284-D1655
| Paeds OPD | Abbott | FPP |  | KAAV002-A0287
| Radiology | Abbott | FPP |  | KAAT269-D0820
| Radiotherapy | Abbott | FPP |  | KAAW307-A9036
| Theatre | Abbott | FPP |  | KAAT269-D0817
KAAT282-D0406
| Ward 1 | Abbott | FPP |  | KAAT253-D0403
| Ward 2 | Abbott | FPP |  | KAAT282-D0481
KAAT269-D0188
| Ward 3 | Abbott | FPP |  | KAAT282-A0314
| Ward 4 | Abbott | FPP |  | KFAB038-A0096
| Ward 5 | Abbott | FPP |  | KAAV101-A0033
| Ward 6 | Abbott | FPP |  | KFAA193-A0095
|  |  |  | KDAA239-A0491 | KAAT269-D0984
| Ward 7 | Abbott | FPP |  | KDAA282-A0182
| Ward 8 | Abbott | FPP |  | KFAA026-A0388
|  |  |  | KFAA025-A0444 | KDAA266-A0221
| Ward 9 | Abbott | FPP |  | KAAT269-D0442
KFAB078-A0110
| Ward 12 | Abbott | FPP | KFAA025-A0161 | KFAA040-A0929
KAAV326-A0364
| Ward 19 | Abbott | FPP |  | KAAV336-D0629
KFAA026-A0046
KAAX029-A0250
| Ward 20 | Abbott | FPP |  | KAAT269-D0969
| Celyn | Abbott | FPP |  | KAAT269-D0535
| Derwen | Abbott | FPP |  | KAAT269-D1000
Cefn Coed
| ECT | Abbott | FPP |  | KAAT269-D0988
| Gwelfor | Abbott | FPP |  | KFAB077-A0017
| Onnen | Abbott | FPP |  | KAAT282-D0282
| Ty Gwanwyn | Abbott | FPP |  | KFAA025-A0326
| Clyne | Abbott | FPP |  | KAAT282-D0106
| Fendrod | Abbott | FPP | KFAA040-A0962 | KAAT284-D1799
| Westfa | Abbott | FPP |  | KAAT269-D0454
Glanrhyd
| Angleton Ward 1 | Abbott | FPP |  | KAAT269-D1038
| Angleton Ward 2 | Abbott | FPP |  | KAAT282-D0075
| Cardigan | Abbott | FPP |  | KAAT282-D0228
| Newton | Abbott | FPP |  | KAAT282-D0130
| Ogmore | Abbott | FPP |  | KAAW340-A2409
| Penarth | Abbott | FPP |  | KAAT282-D0439
| Tenby | Abbott | FPP |  | KAAT282-D0293
| Cedar | Abbott | FPP |  | KAAU058-D0188
| Rowan | Abbott | FPP |  | KAAU058-D0192
Gorseinon
| Rehab Day Ward | Abbott | FPP |  | KAAT282-D0230
| West Ward | Abbott | FPP |  | KFAA025-A0581
KAAV201-A0531
Maesteg
| OPD | Abbott | FPP |  | KDAZ145-A0010
Llywneryr
| Llwyneryr | Abbott | FPP |  | KAAV101-A0162
| Dan y Deri | Abbott | FPP | KAAW327-A1323
Tonna
| Suite 2 | Abbott | FPP |  | KAAT282-D0204
| Mother & Baby Unit (MBU) | Abbott | FPP |  | KDAA204-A0174
Hensol
| Hafod y Wennol | Abbott | FPP |  | KAAW327-A0694

## Gem 4000
Hospital | Area | Serial | Directorate | Supplier | Analyser | Installation date | Purchased/ Received
Morriston
| Emergency Dept (Resus) | 15109137 | Medicine | Werfen | GEM 4000 | 2015-08-05
| Emergency Dept (React) | 20042677 | Medicine | Werfen | GEM 4000 | 2020-08-12 | 2020-06-01
| Childrens Emergency Unit | 20032578 | Women And Child Health | Werfen | GEM 4000 | 2020-07-03 | 2020-04-01
| AMU 1 | 15109202 | Acute Medical Unit | Werfen | GEM 4000 | 2015-05-05
| AMU 2 | 20042694
| Cardiac Theatre 1 | 74027358 | Cardiac Services | Werfen | GEM 4000 | 2015-05-28
| Cardiac Theatre 15 | 14077738 | Cardiac Services | Werfen | GEM 4000 | 2015-05-28
| Cardiac ITU 1 | 73086705 | Cardiac Services | Werfen | GEM 4000 | 2015-05-29
| Cardiac ITU 2 | 20032557 | Cardiac Services | Werfen | GEM 4000 | 2020-05-14 | 2020-04-01
| Cardiac HDU | 14077747 | Cardiac Services | Werfen | GEM 4000 | 2015-05-29
| Cardiac Catheter Lab | 14027309 | Cardiac Services | Werfen | GEM 4000 | 2015-02-12
| Ward J | 15109136 | Respiratory | Werfen | GEM 4000 | 2016-02-01
| Tempest | 14077748 | Regional Surgery | Werfen | GEM 4000 | 2015-04-23
| PAU | 14077746 | Women And Child Health | Werfen | GEM 4000 | 2015-05-07
| Oakwood | 20042649 | Women And Child Health | Werfen | GEM 4000 | 2020-07-03 | 2020-05-01
| Biochemistry | 14027310 | Pathology | Werfen | GEM 4000 | 2015-03-10
| RDU/ Liz Baker | 72075544 | Medicine | Werfen | GEM 4000
| Renal HVS-West | 15078790
| ITU North | 15038365 | Critical Care | Werfen | GEM 4000 | 2015-07-27
| ITU South | 15048460 | Critical Care | Werfen | GEM 4000 | 2015-07-15
| ITU East | 16039641 | Critical Care | Werfen | GEM 4000 | 2016-07-12
| ITU West | 15109203 | Critical Care | Werfen | GEM 4000 | 2016-02-01
| Theatre Rec | 16039642 | Surgical | Werfen | GEM 4000 | 2016-09-22
| Plastics Theatre | 20032581 | Surgcal | Werfen | GEM 4000 | 2020-06-29 | 2020-04-01
Singleton
| Acute Oncology Assessment | 15038368 | Cancer Services | Werfen | GEM 4000 | 2015-09-09
| HDU | 15048461 | Critical Care |  | GEM 4000 | 2015-07-21
| NICU 1 | 9123016 | W&CH | Werfen | GEM 4000
| NICU 2 | 15038369 | W&CH | Werfen | GEM 4000
| CDS | 15048462 | W&CH | Werfen | GEM 4000
| Ward 20 | 08111964 | W&CH | Werfen | GEM 4000 | 2017-12-01
| Ward 18 | 20032574 | W&CH | Werfen | GEM 4000 | 2020-10-08 | 2020-04-01
NPTH
| Ward B2 | 14077737 | Medicine | Werfen | GEM 4000 | 2015-02-25
POWH
| Biochemistry | 14027302 | Pathology | Werfen | Gem 4000 | 2015-03-10
| Ward 10 | 72125975 | Medicine Respitratory | Werfen | GEM 4000 | 2015-04-30
| Respiratory | 72125960 | Medicine | Werfen | GEM 4000 | 2015-04-29
| ITU | 14027299 | Anaesthetics | Werfen | Gem 4000 | 2015-03-04
| Emergency Dept | 72105813 | Medicine | Werfen | GEM 4000 | 2015-03-24
| SCBU | 14077736 | W&CH | Werfen | GEM 4000 | 2015-03-24
| CDS | 14027304 | W&CH | Werfen | GEM 4000
| Ward 12 | 20032631 | W&CH | Werfen | GEM 4000 | 2021-03-03 | 2020-04-01
| Childrens Ward | 20042667 | W&CH | Werfen | GEM 4000 | 05/10/202 | 2020-05-01

## Hemocue
Hospital | Area | Serial | Purchased or Received
Morriston
| Main Theatre | 2209622025 | 2022-05-11
| Plastics Theatre | 2209622026 | 2022-05-11
Singleton
| Theatre | 908621041 | 2010-06-01
| CDS | 908621040 | 2010-06-01
NPTH
| Main Theatre | 2214622220 | 2022-12-01
POWH
| Main Thetare | 908621038 | 2010-06-01
| CDS | 1425621079 (Loan) | 2015
Cimla ACT
| Cimla ACT | 1425621078 | 2015
Note on T7: ra019421: Previous port number H19-15
Note on T14: ra019421: Theatre Recovery port 29

## I-STAT
Hospital | Area | Serial No | Purchased or Received | Issued | Device
Morriston
| Respiratory | 393929 |  |  | Istat-1
| Respiratory | 802587 |  |  | Istat Alinity
| Resp Lung Function | 806680 | 2022-01-06 |  | Istat Alinity
Singleton
| Respiratory | 378957 |  | 2016-05-19 | Istat1
| Respiratory | 384522 |  | 2016-12-06 | Istat1
| Respiratory | 804616 | 2020-08-01 |  | Istat Alinity
| Neonatal CHANTS | 406953 |  |  | Istat 1(POCTLoan)
| Radiotherapy | 802511 | 2019-03-12 |  | Istat Alinity
NPTH
| Resource Centre (Resp) | 801624 | 2018-03-27 |  | Istat Alinity
| Cardio-Respiratory | 806650 |  |  | Istat Alinity
| Respiratory | 805671 |  |  | Istat Alinity
POWH
| Respiratory | 383839 |  |  | Istat1
COPD | Respiratory | 805331 | 2020-12-28 |  | Istat Alinity
| Respiratory | 805332 | 2020-12-28 |  | Istat Alinity
Cimla ACT
|  | 378947 |  |  | Istat1
|  | 382425 |  |  | Istat1
|  | 801627 | 2018-03-27 |  | Istat Alinity
|  | 801984 | 2018-04-18 |  | Istat Alinity
|  | 803443 | 2020-01-30 |  | Istat Alinity
|  | 803444 | 2020-01-30 |  | Istat Alinity
|  | 803481 | 2020-02-20 |  | Istat Alinity
|  | 803482 | 2020-02-20 |  | Istat Alinity
Bridgend ACT
| Trem Y Mor ACT | 802613 |  |  | Istat Alinity
Bonymaen ACT
|  | 803458 | 2020-01-30 |  | Istat Alinity
|  | 804151 | 2020-04-24 |  | Istat Alinity
Note on K22: SSU Room 2
Note on K57: SSU Room 2

## Hemochron
Hospital | Area | Serial | Purchased/Received
Morriston |  |  | Reagent Rental
| Cardiac Theatres | SE16140 | 2019-06-01
| Cardiac Theatres | SE16141 | 2019-06-01
| Cardiac Theatres | SE16142 | 2019-06-01
| Cardiac Theatres | SE16143 | 2019-06-01
| Cardiac Theatres | SE16145 | 2019-06-01
| Cardiac Catheter A | SE16146 | 2019-06-01
| Cardiac Catheter B | SE16149 | 2019-06-01
| Cardiac Catheter C | SE16179 | 2019-06-01
| CCU | SE16191 | 2019-06-01
| Cardiac Spare | SE16148 | 2019-06-01

## h232
Hospital | Area | Serial | Purchased
Morriston
| Acute GP Unit | KS0408252 | 2022-03-31
Cimla ACT
| Cimla ACT | KS0400139 | 2015-10-01
Bridgend ACT
| Trem Y Mor | KS0403203 | 2019-03-01

## LumiraDx
Hospital | Area | Serial No | Purchased or Received
Morriston
| AMU | 30874-21-50-52324 | 2023-01-01
|  | 30874-22-03-53236 | 2023-01-01
| ED | 30874-22-04-53813 | 2022-12-01
|  | 30874-22-28-65931 | 2022-02-01
Cardiac
| Cath Lab | 30874-22-13-61428 | 2022-08-01
| Dan Danino | 30874-20-48-14988 | 2021-01-01
Renal
| West Renal Unit | 30874-22-04-54134 | 2022-12-01
| Renal Day Unit | 30874-20-48-13871 | 2021-01-01
| Renal Day Unit | 30874-22-19-63961 | 2022-11-01
| SDMU | 30874-22-02-52912 | 2023-01-01
Singleton
| CDS | 30874-20-46-12813 | 2022-01-01
| Ward 19 | 30874-22-13-61457 | 2022-08-01
NPTH
| Ward A | 30874-20-45-12679 | 2022-05-01
| Ward C | 30874-20-42-11522 | 2022-05-01
| Ward D | 30874-20-48-14110 | 2022-05-01
| Ward E | 30874-22-12-61016 | 2022-08-01
| Ward E | 30874-22-13-61450 | 2022-08-01
| Day Surgery Unit | 30874-20-45-12597 | 2022-05-01
Note on L26: Thomas Phillips (Swansea Bay UHB - Pathology): 22/2/23 - Loaned to SDMU 22/2/23 replacing faulty device 30874-20-48-14120. Returned to POCT office 23/2/23. TP - 9/3/23 Used as loan to replace faulty device 30874-20-48-14120 from SDMU. Returned to POCT 10/3/23
Note on L69: Thomas Phillips (Swansea Bay UHB - Pathology): Deployed 14/11/22 TP - 02/12/2022 - iQC Neg & Pos passed - no errors - returned to servcie
Note on L135: Thomas Phillips (Swansea Bay UHB - Pathology): 09/03/2023 Instrument error 115-1312 testing/QCs disabled. TP - Issued back to SDMU - QC's passed and error message no longer visible 10/3/23
Note on L167: Thomas Phillips (Swansea Bay UHB - Pathology): 30/11/2022 replaced faulty device 30874-22-12-61032 TP - deployed to ED November 2022
Note on L172: Thomas Phillips (Swansea Bay UHB - Pathology): Not reading strips 19/08/2022
Note on L174: Thomas Phillips (Swansea Bay UHB - Pathology): replacement for 30874-20-47-13655 TP - 14/11/22 30874-21-49-51739 replaced with 30874-22-12-61032
Note on L180: Thomas Phillips (Swansea Bay UHB - Pathology): Deployed 14/11/22
Note on L181: Thomas Phillips (Swansea Bay UHB - Pathology): Deployed 14/11/22
Note on L183: Thomas Phillips (Swansea Bay UHB - Pathology): replacement for 30874-20-45-12533
Note on L185: Thomas Phillips (Swansea Bay UHB - Pathology): replacement for 30874-20-45-12520 TP - 30/11/2022 replaced faulty devive 30874-20-45-12652 TP - deployed to ED November 2022
Note on L204: Thomas Phillips (Swansea Bay UHB - Pathology): Issued to AMU 14/2/23. Removed 15/2/23 to troubleshoot device as staff experiencing issues accessing device issued with loan 30874-20-48-14110. 16/2/23 Hub replaced and device operational
Note on L205: Thomas Phillips (Swansea Bay UHB - Pathology): Returned as faulty 9/12/22 - further IQC's testing resulted in device becoming Morr spare TP - Issued to AMU 28/12/2022

## Liat
Hospital | Area | Serial | Purchased/Received
POWH
| ED | 13567 | 2022-12-20

## Rotem
Hospital | Area | Serial | Purchased
Morriston
| Cardiac ITU | 10124 (Left) | 2017
| Cardia ITU | 10115 (Right) | 2017
Singleton
| CDS | 10274 | 2017-01-01
POWH
| CDS | 10318 | 2017

## Pochi
Hospital | Area | Directorate | Device | Serial
POWH | Ward 21 | Mental Health | POCCHI | A7975
NPTH | Ward F | Mental Health | POCCHI | A7883
Swansea | Central Clinic | Mental Health | POCCHI | A7948
| Ty Einon | Mental Health | POCCHI | B1572
Glanrhyd | Caswell | Mental Health | POCCHI | A7130