Rydym yn croesawu gohebiaeth yn y Gymraeg neu'r Saesneg. Atebir gohebiaeth Gymraeg yn y Gymraeg, ac ni fydd hyn yn arwain at oedi.  We welcome correspondence in Welsh or English. Welsh language correspondence will be replied to in Welsh, and this will not lead to a delay.

Cais Rhyddid Gwybodaeth / Freedom of Information request
Ein Cyf / Our Ref: 23-H-028

You asked:

I’m aware that Hywel Dda University Health board has had issues at two of their hospitals with reinforced autoclaved aerated concrete (RAAC) planks.  
Concern about the safety of these concrete building materials widely used between the 60s and 90s have led to the closure of some parts of Withybush hospital in Haverfordwest.

I was wondering whether this had also been identified as an issue at any of your Swansea Bay University Health Board hospitals?

If it has, what has the consequences been in terms of any survey / building work that has been required and/or the partial or full closure of some areas of hospitals?

Our response:

The Health Board commissioned specialist structural engineers to undertake a survey to appraise SBUHB existing buildings. The survey concluded that the level of risk relating to RAAC was low.

Most of our buildings have now been surveyed and no RAAC has been found.

There are some small areas remaining which, because of access issues, still need to be investigated.  For 22 of those 28, we have now provided additional evidence which is being reveiwed by our Structural Engineer.  An order has been placed to underake the work required to confirm that RAAC is not present in those areas.

The construction of the building meant without further work the surveys could not definitively say RAAC was not present.  This has been scheduled to take place over the next couple of months.

However, the risk is considered low due to the fact it has not been found elsewhere on the sites concerned.
_____________________________________________________________