Rydym yn croesawu gohebiaeth yn y Gymraeg neu'r Saesneg. Atebir gohebiaeth Gymraeg yn y Gymraeg, ac ni fydd hyn yn arwain at oedi.  We welcome correspondence in Welsh or English. Welsh language correspondence will be replied to in Welsh, and this will not lead to a delay.

Cais Rhyddid Gwybodaeth / Freedom of Information request
Ein Cyf / Our Ref: 24-G-047

You asked:

- A full list of premises that fall under the NHS estate in Swansea Bay University Health Board.

See Appendix 1

- The number of these premises that contain Reinforced Autoclaved Aerated Concrete (RAAC) materials.

None

- The number of these premises that contain asbestos.

73

- The latest building safety risk assessment for each premise.

SBUHB does not carry out a safety risk assessment.  The Department of Health issues guidance under the title “a risk-based approach backlog maintenance” this requires Health Boards to undertake every five years the six-facet review of its estate. The review considers a number of issues these include:

•	building condition

•	functional suitability

•	space utilisation

•	health and safety compliance

•	energy

•	quality

The building condition assessments look to assess the condition of our estate, how it's been utilised, as well as confirm its compliance with health and safety guidance.

The building condition assessment covers 16 subsections in including:

- structure

- external fabric

- roofs

- internal fabric and fixtures

- external building works

- energy centre systems

- heating systems

- Hot and cold water systems

- Ventilation systems

- Metal gas pipeline systems

- lifts and hoists

- fixed plant and equipment

- electrical systems

- alarms and detection systems

- communication systems

- miscellaneous

These reviews cover over 100 separate elements of assessment under the categories listed above. We undertook a full review of all our properties in 2022 / 2023, and guidance states this review should be updated every 5 years.  The health board has decided to undertake 20% review of the estate each financial year to ensure the information is updated and costs are updated each year. We undertook the last update in March / April of this year that review focused on Cefn Coed, Gorseinon, Morriston, Neath Port Talbot, Singleton and Tonna Hospitals .

- The latest date that a building safety risk assessment was undertaken for each premise.

2024

Cefn Coed, Gorseinon, Morriston, Neath Port Talbot, Singleton and Tonna Hospitals and in 2023 for all our other owned properties.

- The latest date that a building safety inspection was undertaken for each premise.

The inspections were carried out by an external agency and were submitted in batches all initial reviews were completed between June 2022 and October 2022.

_____________________________________________________________