Cais Rhyddid Gwybodaeth / Freedom of Information request
Ein Cyf / Our Ref: 25-B-028

You asked:

Please can I submit a FOI request to access:

- a breakdown of the estimated cost of the maintenance backlog - by hospital in the Health Board - most recent figures available please.

- outstanding maintenance classed as urgent or critical in any hospital (by department if applicable) and estimated cost.

Backlog maintenance costs are a measure of the condition and associated risks relating to fixed building components and engineering assets (sub-elements). Historically, such costs have been compiled and presented as the cost to achieve acceptable condition B relevant to the following three categories:

- Cost to achieve an acceptable Physical Condition B (The asset is sound, operationally safe and exhibits only minor deterioration)

- Cost to achieve statutory compliance with Fire Safety legislation and Firecode.

- Cost to achieve statutory compliance with Health & Safety legislation (excluding fire safety).

Our risk factors are defined as below;

- HIGH Risk - that where repairs/replacement must be addressed with URGENT PRIORITY in order to prevent catastrophic failure, major disruption to clinical services or deficiencies in safety liable to cause serious injury and/or prosecution.

- SIGNIFICANT Risk - that where repairs/replacement require PRIORITY management and expenditure in the short term so as not to cause undue concern to statutory enforcement bodies or risk to healthcare delivery or safety.

- MODERATE Risk - that where repairs/replacement require effective management and expenditure in the medium term through close monitoring so as not to cause undue concern to statutory enforcement bodies or risk to healthcare delivery or safety.

- LOW Risk - that where repairs/replacement require to be addressed through agreed maintenance programmes or included in the later years of your estate strategy.

- RISK ADJUSTED BACKLOG The sum of all risk adjusted backlog costs for each building/block and external area relating to all assets associated with property occupied by the NHS Organisation.

The following table is taken from our taken for our annual EFPMS (Estates Facilities Performance Management System) submission for 2023/24 (most recently reported year) using the definitions above.

| Quality of Buildings | Unit | AGGREGATED SITES * | CEFN COED HOSPITAL | GORSEINON HOSPITAL | LLWYNERYR HOSPITAL | MORRISTON HOSPITAL | NEATH PORT TALBOT HOSPITAL | SINGLETON HOSPITAL | TONNA HOSPITAL |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cost to eradicate High Risk Backlog | £ | 209,047 | 0 | 116,500 | 0 | 6,755,918 | 0 | 3,240,705 | 23,000 |
| Cost to eradicate Significant Risk Backlog | £ | 2,100,183 | 3,062,712 | 2,424,600 | 2,598 | 19,601,587 | 193,722 | 26,044,216 | 4,802,270 |
| Cost to eradicate Moderate Risk Backlog | £ | 927,744 | 2,747,324 | 1,882,000 | 1,039 | 14,832,642 | 192,215 | 20,322,228 | 73,750 |
| Cost to eradicate Low Risk Backlog | £ | 151,382 | 47,482 | 33,000 | 0 | 478,232 | 96,211 | 766,392 | 93,000 |
| Cost to eradicate Risk Adjusted Backlog | £ | 2,332,513 | 3,237,516 | 2,622,407 | 2,615 | 26,658,243 | 198,625 | 29,934,600 | 4,831,826 |
| Cost to achieve Physical Condition B | £ | 5,725,747 | 6,770,747 | 4,711,600 | 53,508 | 58,819,731 | 1,096,716 | 57,051,610 | 5,295,020 |

* Community sites (Health Centres/Clinics/offices etc) that are maintained by the Estates Department
____________________________________________________________________________________________